## About
SYTaDOMC Start Year Transmission and Distribution OM Costs | Iowa | 2023-09-25 | Alabama | AL
| IA |  | Alaska | AK
Sources: | Transmission O&M Spending |  | Arizona | AZ
| U.S. Energy Information Administration |  | Arkansas | AR
| 2021 |  | California | CA
| Utilities continue to increase spending on the electric transmission system |  | Colorado | CO
| https://www.eia.gov/todayinenergy/detail.php?id=47316#:~:text=Utilities%20spent%20%2416.6%20billion%20on,7%25%20more%20than%20in%202018.&text=Power%20plants%20are%20often%20located,power%20lines%20to%20deliver%20electricity. |  | Connecticut | CT
| First paragraph |  | Delaware | DE
|  |  | Florida | FL
| Distribution O&M Spending |  | Georgia | GA
| U.S. Energy Information Administration |  | Hawaii | HI
| 2021 |  | Idaho | ID
| Major utilities' spending on the electric distribution system continues to increase |  | Illinois | IL
| https://www.eia.gov/todayinenergy/detail.php?id=48136#:~:text=Annual%20spending%20on%20electricity%20distribution,2000%20after%20adjusting%20for%20inflation. |  | Indiana | IN
| First paragraph |  | Iowa | IA
|  |  | Kansas | KS
| National Renewable Energy Laboratory |  | Kentucky | KY
| 2012 |  | Louisiana | LA
| Renewable Energy Futures Study: Volume 1 |  | Maine | ME
| http://www.nrel.gov/docs/fy12osti/52409-1.pdf |  | Maryland | MD
| Page 3-14, Figure 3-8 |  | Massachusetts | MA
|  |  | Michigan | MI
| HIFLD Open Data Electric Power Transmission Lines |  | Minnesota | MN
| 2020 |  | Mississippi | MS
| https://hifld-geoplatform.opendata.arcgis.com/datasets/electric-power-transmission-lines |  | Missouri | MO
| Analysis done by RMI calculations |  | Montana | MT
|  |  | Nebraska | NE
|  |  | Nevada | NV
Note: |  |  | New Hampshire | NH
|  |  | New Jersey | NJ
We adjust 2021 dollars to 2012 dollars using the following conversion factor: |  |  | New Mexico | NM
0.8473 |  |  | New York | NY
See "cpi.xlsx" in the InputData folder for source information. |  |  | North Carolina | NC
|  |  | North Dakota | ND
|  |  | Ohio | OH
|  |  | Oklahoma | OK
|  |  | Oregon | OR
|  |  | Pennsylvania | PA
|  |  | Rhode Island | RI
|  |  | South Carolina | SC
|  |  | South Dakota | SD
|  |  | Tennessee | TN
|  |  | Texas | TX
|  |  | Utah | UT
|  |  | Vermont | VT
|  |  | Virginia | VA
|  |  | Washington | WA
|  |  | West Virginia | WV
|  |  | Wisconsin | WI
|  |  | Wyoming | WY

## HIFLD Outputs
Ranking by kvolt*miles | State | Abb | kVolt Miles | Miles | Fraction kV*miles / total
1 | Texas | TX | 12422854.1115 | 66809.8419 | 8.401%
2 | California | CA | 10672018.0633 | 51067.879 | 7.217%
3 | Oregon | OR | 5571798.9625 | 20876.7806 | 3.768%
4 | Washington | WA | 5407549.7071 | 24875.4621 | 3.657%
5 | Ohio | OH | 4601291.7778 | 21215.9972 | 3.112%
6 | Nevada | NV | 4475926.362 | 12414.9224 | 3.027%
7 | Indiana | IN | 4333497.1359 | 19235.6879 | 2.931%
8 | Arizona | AZ | 4161224.3382 | 15442.246 | 2.814%
9 | Florida | FL | 3803657.718 | 21123.4607 | 2.572%
10 | Georgia | GA | 3764607.6233 | 19550.8655 | 2.546%
11 | New York | NY | 3642095.8985 | 22575.5921 | 2.463%
12 | Minnesota | MN | 3603526.7277 | 20544.8683 | 2.437%
13 | Illinois | IL | 3574981.8313 | 17204.5778 | 2.418%
14 | North Dakota | ND | 3449788.8087 | 21787.6161 | 2.333%
15 | Pennsylvania | PA | 3448721.0722 | 16392.6316 | 2.332%
16 | Michigan | MI | 3432781.5974 | 18572.9119 | 2.321%
17 | North Carolina | NC | 3384204.1882 | 20055.3332 | 2.289%
18 | Oklahoma | OK | 3376193.7675 | 20772.0321 | 2.283%
19 | Virginia | VA | 3234315.4391 | 13599.3977 | 2.187%
20 | Tennessee | TN | 3174876.9977 | 16305.038 | 2.147%
21 | Montana | MT | 3143481.9686 | 20456.8176 | 2.126%
22 | Colorado | CO | 3130636.2532 | 18596.379 | 2.117%
23 | Alabama | AL | 3053410.7568 | 17647.0203 | 2.065%
24 | Missouri | MO | 3000586.5036 | 18334.8156 | 2.029%
25 | Utah | UT | 2845576.6065 | 14289.0343 | 1.924%
26 | Idaho | ID | 2792375.1496 | 14823.2522 | 1.888%
27 | Kentucky | KY | 2731526.3073 | 17556.0542 | 1.847%
28 | West Virginia | WV | 2678698.4432 | 10787.9985 | 1.811%
29 | South Carolina | SC | 2498948.3451 | 16041.8242 | 1.69%
30 | Kansas | KS | 2421458.4219 | 13667.7971 | 1.638%
31 | Wisconsin | WI | 2404820.2784 | 17248.1312 | 1.626%
32 | New Mexico | NM | 2378512.9078 | 11817.0164 | 1.608%
33 | Nebraska | NE | 2322839.5769 | 12753.522 | 1.571%
34 | Wyoming | WY | 2306013.4656 | 13615.7363 | 1.559%
35 | South Dakota | SD | 2246414.6806 | 13231.1921 | 1.519%
36 | Mississippi | MS | 2164216.9809 | 11731.9855 | 1.464%
37 | Arkansas | AR | 2059792.1957 | 11571.5393 | 1.393%
38 | Iowa | IA | 1987989.8464 | 11082.8324 | 1.344%
39 | Louisiana | LA | 1954175.4088 | 10843.9383 | 1.322%
40 | Maryland | MD | 1216649.504 | 5859.2601 | 0.8228%
41 | New Jersey | NJ | 1056553.2099 | 4148.372 | 0.7145%
42 | Massachusetts | MA | 942458.3732 | 5222.9083 | 0.6373%
43 | Maine | ME | 734512.9691 | 4294.7116 | 0.4967%
44 | New Hampshire | NH | 577792.2435 | 2684.0414 | 0.3907%
45 | Alaska | AK | 492649.3818 | 3653.977 | 0.3332%
46 | Connecticut | CT | 440233.4833 | 2559.127 | 0.2977%
47 | Vermont | VT | 350970.5869 | 2220.807 | 0.2373%
48 | Delaware | DE | 227548 | 1177.9693 | 0.1539%
49 | Rhode Island | RI | 109707.6938 | 632.5962 | 0.07419%
50 | Hawaii | HI | 67983.2526 | 773.5039 | 0.04597%
Total |  |  | 147874444.9231 |  | 100%

## Data National
BAU transmission capacity in 2010 is given in the figure caption as
150-200 million MW*miles. The graph shows the additional quantity
of transmission being built in the "baseline" scenario, which extends
to 2050 in the RE Futures Report. We assume the growth is linear
and interpolate.
Unfortunately, data are only available as a graph (not in numbers), so
we must estimate by measuring pixels on the graph.
2010 Transmission (low estimate): | 150000000 | MW*miles
2010 Transmission (high estimate): | 200000000 | MW*miles
2010 Transmission: | 175000000 | MW*miles
BAU New Transmission
Pixels per 50 million MW*miles: | 141 | pixels
Pixel height of new transmission: | 15 | pixels
New transmission quantity in 2050 | 5319148.9362 | MW*miles
National Data
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 175000000 | 175132978.7234 | 175265957.4468 | 175398936.1702 | 175531914.8936 | 175664893.617 | 175797872.3404 | 175930851.0638 | 176063829.7872 | 176196808.5106 | 176329787.234 | 176462765.9574 | 176595744.6809 | 176728723.4043 | 176861702.1277 | 176994680.8511 | 177127659.5745 | 177260638.2979 | 177393617.0213 | 177526595.7447 | 177659574.4681 | 177792553.1915 | 177925531.9149 | 178058510.6383 | 178191489.3617 | 178324468.0851 | 178457446.8085 | 178590425.5319 | 178723404.2553 | 178856382.9787 | 178989361.7021 | 179122340.4255 | 179255319.1489 | 179388297.8723 | 179521276.5957 | 179654255.3191 | 179787234.0426 | 179920212.766 | 180053191.4894 | 180186170.2128 | 180319148.9362
Costs ($)
Transmission Construction | 14065248551.5002
Distribution Construction | 12370640292.2833
State
Iowa
BTC | 2352659.5369 | 2354447.2721 | 2356235.0073 | 2358022.7425 | 2359810.4777 | 2361598.213 | 2363385.9482 | 2365173.6834 | 2366961.4186 | 2368749.1538 | 2370536.889 | 2372324.6242 | 2374112.3594 | 2375900.0946 | 2377687.8299 | 2379475.5651 | 2381263.3003 | 2383051.0355 | 2384838.7707 | 2386626.5059 | 2388414.2411 | 2390201.9763 | 2391989.7115 | 2393777.4467 | 2395565.182 | 2397352.9172 | 2399140.6524 | 2400928.3876 | 2402716.1228 | 2404503.858 | 2406291.5932 | 2408079.3284 | 2409867.0636 | 2411654.7989 | 2413442.5341 | 2415230.2693 | 2417018.0045 | 2418805.7397 | 2420593.4749 | 2422381.2101 | 2424168.9453
Transmission Construction | 189089949.3923
Distribution Construction | 166308027.7787

## SYTaDOMC-Transmission
Costs ($)
Transmission Construction | 189089949.3923

## SYTaDOMC-Distribution
Costs ($)
Transmission Construction | 166308027.7787